## Slide 1
HARDWARE, INFRASTRUCTURE & MAINTENANCE

## Slide 2
Project REQUIREMENT
We plan to provide a comprehensive internetworking infrastructure for SPS cloud-ready application system. The plan will mainly focus on the SPS’s Portal availability. The portal is a crucial application system which requires an agile, scalable and robust infrastructure to ensure its accessible 24x7.
The proposed baseline configurations are based on the generic deployments, solution size and capability and are independent of the target application. The recommendations focus on hardware capacity and software features; they do not attempt to prescribe a particular server model or chipset, as these preferences may vary or to be changed later based on customer requirements and detailed requirement gathering.
The following table describes the recommended components for the proposed configuration as follows;

## Slide 3
Reference architecture for virtual infrastructure
The following table describes the recommended components for the proposed configuration as follows;
TOTAL CPU CORE (pCPU) | TOTAL VIRTUAL CORE (vCPU)
96 | 288
 | More than 50% buffer
TOTAL RAM | TOTAL VIRTUAL RAM (vRAM)
512 | 512
 | More than 50% buffer
CPU BASELINE CONFIGURATION
MEMORY BASELINE CONFIGURATION
TOTAL STORAGE (TB) | FLASH DISKS FOR PERFORMANCE
10 | Yes
STORAGE BASLINE CONFIGURATION

## Slide 4
Reference architecture for virtual infrastructure
NETWORKING INTERFACE
2 x 10 GbE
VIRTUALIZATION | 
HYPERVISOR | VMWare VSphere
NUMBER OF ESX HOSTS | 4
# OF FAILURE TO TOLERATE | 1
NETWORKING BASELINE CONFIGURATION
VIRTUALIZATION BASELINE CONFIGURATION
BACKUP | 
Disk Based | Yes
Deduplication | Yes

## Slide 5
Proposed system architecture
replication
INTERNET
Virtualization Infrasturcture
Virtualization Infrasturcture
SPS
Production Application Farm
SPS
DR Application Farm
Disks Backup Appliance / VTL
Disks Backup Appliance / VTL

## Slide 6
Proposed solution
VIRTUALIZATION ARCHITECTURE
  Software-based storage built in ESXi
  Aggregates local Flash and HDDs
  Shared datastore for VM consumption
  Converged compute + storage
  Distributed architecture, no single point of failure
  Deeply integrated with VMware stack
esxi-01
esxi-02
esxi-03
Virtualization
esxi-04
Web Svr1
Web Svr2
App
01
App
02
DB
01
DB
02
Dev
Training
Backup Appliance

## Slide 7
Proposed hardware & software
Hardware Infrastructure
**Note : This proposal is the preliminary design and may required changes with the depth
of the details supplied in at a later stage .The hardware sizing was based on table as the
previous slide
Processor Per Node
Intel Ivy Bridge (Up to 130W)
Dual Processor
Memory | Processor Per Node
4 Channels of Native DDR3(1333)
Up to 8 DDR3 ECC R-DIMMS per server node
Disk
Integrated 4-Port SAT/SAS controller (SW RAID)
Up to 16 (4 per node) 2.5” HDD
I/O’s Per Node
Dual GbE ports onboard
Optional IB QDR/FDR or 10GbE integrated
1x 8 PCIe Gen3 I/O Mezz Option (Quad GbE or Dual 10GbE)
1 x 16 PCIe Gen3HBA slots
Integrated BMC with RMM4 support
Chassis
2U chassis supporting 4 hot swap nodes w/half-width MBs.
2 x 1200W (80+ & CS Platinum) redundant hot-swap PS
Dedicated cooling / node (no SPoF) – 3 x 40mm dual rotor fans
Front Panel w/separate power control per node
17.24” x 30.35” x 3.46”
NODE 1
NODE 2
NODE 3
NODE 4

## Slide 8
hardware & software maintenance
Types of software updates (release)
New version or major changes made to current system
Major Release
1
Enhancement made due to defect found in any software components
Emergency Release
3
Partial changes, improvement and upgrading in one of system modules
Minor Release
2
Preventive maintenance
  House keeping and disk utilities (every 4 months)
  Database re-indexing and performance tuning (every 2 months)
  Anti-virus upgrade (Auto)
Corrective
  Software upgrade (every 6 month)
  Major Upgrade
  Minor Upgrade
  Emergency Upgrade